| Annual Check Sheet Created January 2015, Review 2016 | Key: |  | Satisfactory | x | Unsatisfactory | NR | Not Required |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Safety Check Year |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Service of treatment complete |  |  |  |  |  |  |
| 2 | Clean treated water storage tank |  |  |  |  |  |  |
| 3 | Order spare UV bulb / filters |  |  |  |  |  |  |
| 4 | Review emergency plan |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |

| If Unsatisfactory – Record of problems found and action taken |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Safety check item requiring action / description of problem | Action to be taken | Date work to be done (by whom) | Date actual work done (by whom) |

| Monthly Check Sheet for <year> Created January 2015, Review 2016 | Key: |  | Satisfactory | x | Unsatisfactory | NR | Not Required |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Equipment | Safety Check |  | Jan | Feb | Mar | April | May | June | July | Aug | Sept | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |

| If Unsatisfactory – Record of problems found and action taken |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Safety check item requiring action / description of problem | Action to be taken | Date work to be done (by whom) | Date actual work done (by whom) |

| Weekly Check Sheet for <month> <year> Created January 2015, Review 2016 | Key: |  | Satisfactory | x | Unsatisfactory | NR | Not Required |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Equipment | Safety Check |  | Week 1 | Week 2 | Week 3 | Week 4 |
| --- | --- | --- | --- | --- | --- | --- |
| Treatment room (weekly plus immediately after power cut) | A | Locked, secure; preventing water / vermin ingress |  |  |  |  |
|  | B | No leaks |  |  |  |  |
|  | C |  |  |  |  |  |
|  | D |  |  |  |  |  |
|  | E |  |  |  |  |  |
|  | F |  |  |  |  |  |
|  | G |  |  |  |  |  |
|  | H |  |  |  |  |  |
|  | I |  |  |  |  |  |
| Outside taps used for drinking water (e.g. caravan site) | K | Clean end of taps and adaptors |  |  |  |  |
|  | J | Check no leaks and correct adaptor fitted |  |  |  |  |
| Pipework | L | Flushed unused sections of pipework. |  |  |  |  |

| If Unsatisfactory – Record of problems and action taken |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Safety check item requiring action / description of problem | Action to be taken | Date work to be done (by whom) | Date actual work done (by whom) |